Simulation Suggests Transcutaneous CO2 Sensors May Accurately Detect Hypercapnia Across Settings.

This work is supported by grants from the American Thoracic Society (ASPIRE fellowship), the Intermountain Fund, and the National Institutes of Health (Ruth L. Kirschstein National Research Service Award 5T32HL105321 and National Center for Advancing Translational Sciences Award UM1TR004409)

Introduction:

Hypercapnic respiratory failure is diagnosed by measuring arterial CO2 (PaCO2), but this approach is painful, invasive, and performed selectively, leading to missed cases. Transcutaneous CO2 (TcCO2) offers a non-invasive alternative. We have previously simulated its accuracy in newly admitted hospitalized adults undergoing PaCO2 assessment, but it’s expected accuracy in other clinical settings is uncertain.

Methods:

We simulated the rate of true negatives (PaCO2 and TcCO2 < 45mmHg), false positives (PaCO2 < 45mmHg, TcCO2 ≥ 45mmHg), true positives (PaCO2 and TcCO2 ≥ 45mmHg), and false negatives (PaCO2 ≥ 45mmHg, TcCO2 < 45mmHg) using TcCO2-PaCO2 agreement estimates from a meta-analysis by Conway et al. (7021 paired measurements from 73 studies; Thorax, 2017) and the distribution of all PaCO2 results obtained in 2022 in an aggregated health record dataset from 76 medical centers across the USA (TriNetX, MA, USA).

Observations were stratified by setting: ambulatory pulmonary function testing (PFT), emergency department/inpatient (ED/INP), and intensive care unit (ICU). Setting-specific estimates of TcCO2-PaCO2 agreement were used to estimate sensitivity (Se), specificity (Sp), and predictive values. Multi-level modeling and Monte-Carlo simulation were used to account for mean bias, within-study variance, between-study variation, and uncertainty in each parameter estimate. A sensitivity analysis estimating TcCO2’s performance amongst patients with 1 or more indicators of possible hypercapnia, whether or not they received PaCO2 assessment, was performed using inverse propensity (to obtain PaCO2) weighting.

Results:

197,698 ABGs were included across all clinical settings (120,526 in the emergency/inpatient wards, 66,704 in the ICU, and 10,456 in the PFT clinic). Median age was 61 years (IQR 45, 72). Median PaCO2 was *** mmHg (PFT), *** mmHg (ED/INP), and *** mmHg (ICU). The proportion with PaCO2 ≥ 45 mmHg was **% (PFT), **% (ED/INP), and **% (ICU). Simulated TcCO2 measurements yielded operating characteristic estimates in PFT (Se ***, Sp ***), ED (Se ***, Sp ***), ED (Se ***, Sp ***), INP (Se ***, Sp ***), and ICU (Se ***, Sp ***) settings. Negative predictive values ranged from 91.3% [***]-97.0% [***], and positive predictive value from 87.6% [***]-94.4% [***]. Similar results were found when observations were weighted by propensity-to-obtain PaCO2.

Conclusions:

This simulation suggests a high degree of accuracy in TcCO2 for binary assessment of hypercapnia is expected across multiple different clinical settings. The greatest amount of inaccuracy was in the false negative rate for emergency and non-ICU inpatients. Strengths of this simulation include the use of PaCO2 distributions a large, nation-wide dataset; incorporation of the components of uncertainty from the best available accuracy estimates of TcCO2; and propensity-weighting to include patients who did not undergo PaCO2 assessment. Limitations include an assumed normal distribution of errors, an inability to more finely separate clinical settings, and the in-silico nature of accuracy estimates.

Clinical Implications:

TcCO2 is expected to accurately classify which patients have hypercapnia in multiple clinical settings. TcCO2 may have clinical or research utility when reliable non-invasive detection of hypercapnia is desired.